## Lab Code No.
Participating laboratories of ILC 2021
Code | Laboratories
Cambodia
KH01 | General Directorate of Environmental Protection (GDEP), Ministry of Environment
China
CN01 | Zhuhai Environmental Monitoring Center Station
CN02 | Xiamen Environmental Monitoring Station
CN03 | Xi’an Environmental Monitoring Center Station
CN04 | Chongqing Ecological and Environmental Monitoring Center
CN05 | Wuzhishan City Ecological Environment Protection Monitoring Station
CN06 | The Ecological and Environmental Monitoring Station of DEEY in Lijiang
Indonesia
ID01 | Environmental Management Center (EMC), Ministry of Environment and Forestry
ID02 | Climatology, Meteorological and Geophysical Agency (BMKG)
ID03 | Research Organization of Aeronautics and Space - National Research and Innovation Agency (LAPAN-BRIN)
ID04 | Indonesian Soil Research Institute (ISRI)
ID05 | Research Center for Water Resources (RCWR), Agency for Research and Development, Ministry of Public Works
Japan
JP01 | Institute of Environmental Sciences, Hokkaido Research Organization
JP02 | Niigata Prefectural Institute of Public Health and Environmental Sciences
JP03 | Nagano Environmental Conservation Research Institute
JP04 | Gifu Prefectural Research Institute for Health and Environmental Sciences
JP07 | Kochi Prefectural Institute of Health and Environment
JP08 | Okinawa Prefectural Institute of Health and Environment
JP09 | Asia Center for Air Pollution Research (ACAP)
JP10 | Japan Environmental Sanitation Center (JESC)
JP14 | Nagasaki Prefectural Institute of Environment and Public Health
MY01 | MY01
Lao PDR
LA01 | Environmental Laboratory (EL), Natural Resource and Environment and Statistic Research Institute (NRESRI)
Malaysia
MY01 | Environmental Quality Division, Department of Chemistry Malaysia (DOC)
Mongolia
MN01 | Central Laboratory of Environment and Metrology (CLEM)
Myanmar
MM01 | Department of Meteorology and Hydrology (DMH)
Philippines
PH01 | Environmental Management Bureau - Central Office (EMB-CO)
PH02 | Environmental Management Bureau - Cordillera Administrative Region (EMB-CAR)
Republic of Korea
KR01 | Aerosol research Lab. in National Institute of Environment Research (NIER)
Russia
RU01 | Limnological Institute, Russian Academy of Sciences, Siberian Branch (LI/RAS/SB)
RU02 | Primorsky Center for Environmental Monitoring, Roshydromet (PCEM)
Thailand
TH01 | Pollution Control Department (PCD), Ministry of Natural Resources and Environment (MONRE)
TH02 | Environmental Research and Training Center (ERTC), Department of Environmental Quality Promotion
Vietnam
VN01 | Environmental Laboratory - Center for Environmental Research - Vietnam Institute of Meteorology, Hydrology and Climate change (IMHEN)- MoNRE
VN02 | Mid- Central Regional Hydro Meteorological Center, National Hydro-Meteorological Service of Vietnam (NHMS), MoNRE
VN03 | Sub-Institute of HydroMeteorology and Climate Change(SIHYMECC)
VN04 | Center for Hydro-Meteorological and Environmental Networks, National Hydro-Meteorological Service of Vietnam (NHMS), MoNRE
VN05 | Southern Region Hydro-Meteorological Center, National Hydro-Meteorological Service of Vietnam (NHMS), MoNRE

## Report 1
The Inter-laboratory Comparison Project 2021 on Dry Deposition
Report [1]: Results
1. Organization |  | Country | Viet Nam
|  | Organization | Environmental Laboratory - Center for Environmental Research - IMHEN- MoNRE
|  | Lab Code | VN 01
|  | TEL | (84.04).37733090-509
|  | FAX | (84.04).8355993
|  | Main analyst : | Nguyen Truong Giang
2. Summary of results
Note 1) Enter each value in only yellow highlighted cells. Msol, blank and NetMsol are automatically calculated.
Note 2) No significant digit requirement. Each analytical value should be rounded to the 3rd decimal place.
(Table1) | Determind ion quantity for each sample | [6 empty] | (Table2) | Determined ion quantity for each blank sample
|  | No.211d-1 |  | No.211d-2 | No.212d-1 |  | No.212d-2 |  | No.213d-1 |  | No.213d-2
| Analyte | SO42- | Cl- | NH4+ | SO42- | Cl- | NH4+ | Analyte | SO42- | Cl- | NH4+
|  | (μg) | (μg) | (μg) | (μg) | (μg) | (μg) |  | (μg) | (μg) | (μg)
Msol, Sample | a | 9.976 | 3.899 | 11.407 | 60.567 | 11.409 | 58.228 | a | 0.088 | 0.408 | 1.056
| b | 9.895 | 3.695 | 11.389 | 60.312 | 11.392 | 58.208 | b | 0.092 | 0.415 | 1.064
| c | 10.013 | 3.682 | 11.412 | 60.454 | 11.398 | 58.312 | c | 0.09 | 0.42 | 1.06
Average Msol,sample |  | 9.9613 | 3.9977 | 11.4027 | 60.814 | 11.3997 | 58.2493 | Median Msol,blank | 0.09 | 0.415 | 1.06
Note 3) Do not enter their detection limit, including <0.1 or N.D
(Table3)The net quantity for each sample. (NetMsol = Msol,sample - Msol, blank)
Analyte |  | No.211d-1 |  | No.211d-2 | No.212d-1 |  | No.212d-2
|  | SO42- | Cl- | NH4+ | SO42- | Cl- | NH4+
|  | (μg) | (μg) | (μg) | (μg) | (μg) | (μg)
Median Msol, Blank |  | 0.09 | 0.415 | 1.06 | 0.09 | 0.415 | 1.06
NetMsol | a | 9.886 | 3.484 | 10.347 | 60.477 | 11.17 | 57.168
| b | 9.805 | 3.28 | 10.329 | 60.222 | 11.153 | 57.148
| c | 9.923 | 3.267 | 10.352 | 60.364 | 11.159 | 57.252
Average NetMsol |  | 9.8713 | 3.3437 | 10.3427 | 60.3543 | 11.1607 | 57.1893
Standard Deviation |  | 0.060352 | 0.12171 | 0.012097 | 0.12777 | 0.0086217 | 0.055185
Official Result |  | 10 | 4 | 10 | 60 | 11 | 57 |  | Your results are automatically rounded. These are your official results.
Note: Each analytical value should be rounded to the 3rd decimal place.
For example :
0.003569 0.004
This is the 3rd decimal number.
This is the 4th decimal number.

## Report 2
The Inter-laboratory Comparison Project 2021 on Dry Deposition
Report [2]: Detection Limit and Determination Limit
1. Organization
| Country : | Vietnam |  |  | Nguyen Truong Giang
| Organization : | Environmental Laboratory - Center for Environmental Research - IMHEN- MoNRE
| Lab Code : | VN 01
| TEL : | (84.04).37733090-509
| FAX : | (84.04).8355993
| Main analyst : | Nguyen Truong Giang
2. Detection Limit (3σ) and Determination Limit (10σ)
Note 1) Enter each value analyzed Std1 solution in only light blue highlighted cells. Avarage, standard deviation, detection limit
and determination limit are automatically calculated. The analytical values should be rounded to 2 decimal places.
|  | SO42- | Cl- | NH4+
|  | (μmol L-1) | (μmol L-1) | (μmol L-1)
| 1st Analysis | 1.06 | 1.36 | 2.79
| 2nd Analysis | 1.08 | 1.38 | 2.8
| 3rd Analysis | 1.03 | 1.42 | 2.75
| 4th Analysis | 1.05 | 1.4 | 2.74
| 5th Analysis | 1.07 | 1.39 | 2.76
| Average | 1.058 | 1.39 | 2.768
| Standard deviation (σ) | 0.019235 | 0.022361 | 0.025884
| Detection limit (3σ) | 0.057706 | 0.067082 | 0.077653
| Determination limit (10σ) | 0.19235 | 0.22361 | 0.25884

## Report 3
The Inter-laboratory Comparison Project 2021 on Dry Deposition
Report [3] : Theoretical Concentrations of standard solution
1. Organization | Country |  | Vietnam
| Organization |  | Environmental Laboratory - Center for Environmental Research - IMHEN- MoNRE | [9 empty] | ✔
| Lab Code |  | VN 01
| TEL |  | (84.04).37733090-509
| FAX |  | (84.04).8355993
| Main analyst/Leader |  | Nguyen Truong Giang
2. Each theoretical ion concentration in the standard solutions
Note 1) Please enter their theoretical/calculated values. (Molecular weight: SO42- : 96.06, Cl-: 35.45, NH4+: 18.04)
Note 2) The theoretical values should be rounded to 2nd decimal places.
Note 3) Choose proper solutions separately and draw each calibration curve for 211d and 212d.
Standard solution | SO42- | 211d-1 ✓ | 212d-1 ✓ | Standard solution | Cl- | 211d-1 ✓ | 212d-1 ✓ | Standard solution | NH4+ | 211d-2 ✓ | 212d-2 ✓
| (μmol L-1) |  |  |  | (μmol L-1) |  |  |  | (μmol L-1)
Std0 (Pure water) | 0 | ✔ | ✔ | Std0 (Pure water) | 0 | ✔ | ✔ | Std0 (Pure water) | 0 | ✔ | ✔
Std1 | 1.04 | ✔ | ✔ | Std1 | 1.41 | ✔ | ✔ | Std1 | 2.77 | ✔ | ✔
Std2 | 2.08 | ✔ | ✔ | Std2 | 2.8209 | ✔ | ✔ | Std2 | 5.5432 | ✔ | ✔
Std3 | 4.16 | ✔ | ✔ | Std3 | 5.6417 | ✔ | ✔ | Std3 | 11.0865 | ✔ | ✔
Std4 | 10.41 | ✔ | ✔ | Std4 | 14.1044 | ✔ | ✔ | Std4 | 27.7162 | ✔ | ✔
Std5 | 20.82 | ✔ | ✔ | Std5 | 28.2087 | ✔ | ✔ | Std5 | 55.4324 | ✔ | ✔
Std6 | 41.64 | ✔ | ✔ | Std6 | 56.4175 | ✔ | ✔ | Std6 | 110.8647 | ✔ | ✔
Std7 | 104.1 | ✔ | ✔ | Std7 | 141.0437 | ✔ | ✔ | Std7 | 277.1619 | ✔ | ✔
Std8 |  |  |  | Std8 |  |  |  | Std8
Std9 |  |  |  | Std9 |  |  |  | Std9
Std10 |  |  |  | Std10 |  |  |  | Std10
For Example:
Standard solution | SO42- | 211d-1 ✓ | 212d-1 ✓
(μmol L-1)
Std0 (Pure water) | 0 | ✔
Std1 | 0.52 | ✔ | ✔
Std2 | 1.04
Std3 | 2.6 | ✔ | ✔
Std4 | 5.21 | ✔ | ✔
Std5 | 10.41 | ✔ | ✔
Std6 | 26.03
Std7 | 52.05 |  | ✔ |  |  |  |  | Small quantitiy |  |  |  | Large quantity
Std8 | 104.1
Std9 | [7 empty] | Choose proper solutions and draw each calibration curve for 211d and 212d separately.
Std10
Please check ✔ if you use this standard solution to measure the value.
Please enter their concentrations (umol L-1). Calculation values are expected.

## Report 4
The Inter-laboratory Comparison Project 2021 on Dry Deposition
Report [4] Sulfate ion (SO42-), Chloride ion (Cl-), Ammonium ion (NH4+)
1. Main analyst/Leader in charge of this analysis
Name | Nguyen Truong Giang
Years of experience for chemical analysis |  | 8 year(s)
Years of experience for chemical analysis of acid deposition |  | 8 year(s)
2. Date | Year/Month/Day (ex. 2020/12/10)
Date of sample arrival | 2021-11-01 | Note if you have any:
Date of sample extraction | 2021-12-07
Date of sample filtration | 2021-12-08
Date of analysis | 2021-12-08
3. Extraction Method | □ shaked with a shaker for 20 min.
ý shaked with a ultra sonic bath for 20 min.
□ shaked by hand for 20 min.
□ others ( )
4. Measurement conditions of SO42-,Cl- and NH4+.
| SO42-,Cl- |  | NH4+.
Analytical method | ýIon chromatography |  | ýIon chromatography --> Go to A
□Spectrophotometry [Indophenol] --> Go to B
□Spectrophotometry [Others]( )
| □Others ( ) |  | □Others ( )
Manufacturer of apparatus | Metrohm |  | Metrohm
Model name | MIC 3 |  | MIC 3
Year(s) in use of apparatus | 20 year(s) |  | 20 year(s)
A: Ion chromatography
Detector | ýelectric conductivity |  | ýelectric conductivity
| □others ( ) |  | □others ( )
Suppressor | ýattached |  | □attached
| □not attached |  | ýnot attached
Injection | □autosampler |  | □autosampler
| ýmanual |  | ýmanual
Injection volume | 20 μL |  | 20 μL
B: Spectrophotometry
Analytical wave length mm
Heating temperature ℃
Heating time hours
5. Standard solution
| SO42- | Cl- | NH4+
Chemicals in original standard
solution and its concentration | ýmg L-1 □μmol L-1 | ýmg L-1 □μmol L-1 | ýmg L-1 □μmol L-1
Preparation method | ýcommercial | ýcommercial | ýcommercial
| □prepared at your laboratory | □prepared at your laboratory | □prepared at your laboratory
6. Eluent of Ion Chromatography | SO42- | Cl- | NH4+
Eluent | NaHCO3 &Na2CO3 |  | Acid Tactric & Acid Dipinilic | New Request!
| For example : KOH(potassium hydroxide) or others |  | For Example: CH3SO3H(methan sulfonate) or others
Note on C11: If you extract, filtrate, or analyze F2 filters and F3 filters on the different day, please jot it down.

## Calibration curve
<Please append copies of each calibration curve.>

## Std1
<Please append copies of std1 graph( SO42-, Cl-, NH4+).>

## Analysis Chart
<Please append copies of each analysis chart.>
Sample No.211d-1, No.211d-2, No.212d-1, No.212d-2, No.213d-1, No.213d-2
THE ANALYSIS CHART OF THE SAMPLE No.211d-1
THE ANALYSIS CHART OF THE SAMPLE No.211d-2
THE ANALYSIS CHART OF THE SAMPLE No.212d-1
THE ANALYSIS CHART OF THE SAMPLE No.212d-2
THE ANALYSIS CHART OF THE SAMPLE No.213d-1
THE ANALYSIS CHART OF THE SAMPLE No.213d-2